## revision
SKA
Revision | SHEET | Description | Date | Note
00 |  | First Issue | 2025-09-29

## EC4-P1
SEF | DESIGNATION | TYPE | ORDER CODE | MANUFACTURER | Q.TY | ID
+30-16X6 | POWER DISTRIBUTOR BLOCK 100A GRAY | WP100 | 1561910000 | WEIDMULLER | 1 | X
+30-16X7 | POWER DISTRIBUTOR BLOCK 100A GRAY | WP100 | 1561910000 | WEIDMULLER | 1 | X
+30-16X8 | POWER DISTRIBUTOR BLOCK 100A GRAY | WP100 | 1561910000 | WEIDMULLER | 1 | X
+75-10F1 | MODULAR CIRCUIT BREAKER 1P 10A | S201M-C10UC | 2CDS271061R0104 | ABB | 1 | F
+75-10F1 | AUXILIARY CONTACT FOR MODULAR CIRCUIT BREAKER 1NO + 1NC | S2C-H6-11R | 2CDS200946R0001 | ABB | 1 | F
+75-10F2 | MODULAR CIRCUIT BREAKER 1P 6A | S201M-C6UC | 2CDS271061R0064 | ABB | 1 | F
+75-10F2 | AUXILIARY CONTACT FOR MODULAR CIRCUIT BREAKER 1NO + 1NC | S2C-H6-11R | 2CDS200946R0001 | ABB | 1 | F
+75-10F3 | MODULAR CIRCUIT BREAKER 1P 1A | S201M-K1UC | 2CDS271061R0217 | ABB | 1 | F
+75-10F3 | AUXILIARY CONTACT FOR MODULAR CIRCUIT BREAKER 1NO + 1NC | S2C-H6-11R | 2CDS200946R0001 | ABB | 1 | F
+75-10F4 | MODULAR CIRCUIT BREAKER 1P 6A - K CURVE | S201M-K6UC | 2CDS271061R0377 | ABB | 1 | F
+75-10F4 | AUXILIARY CONTACT FOR MODULAR CIRCUIT BREAKER 1NO + 1NC | S2C-H6-11R | 2CDS200946R0001 | ABB | 1 | F
+75-10F5 | MODULAR CIRCUIT BREAKER 1P 6A - K CURVE | S201M-K6UC | 2CDS271061R0377 | ABB | 1 | F
+75-10F5 | AUXILIARY CONTACT FOR MODULAR CIRCUIT BREAKER 1NO + 1NC | S2C-H6-11R | 2CDS200946R0001 | ABB | 1 | F
+75-15F1 | MODULAR CIRCUIT BREAKER 1P 2A | S201M-K2UC | 2CDS271061R0277 | ABB | 1 | F
+75-15F1 | AUXILIARY CONTACT FOR MODULAR CIRCUIT BREAKER 1NO + 1NC | S2C-H6-11R | 2CDS200946R0001 | ABB | 1 | F
+75-11K1 | RELAY MODULE WITH FORCIBLY GUIDED 4NO+2NC CONTACTS 6 A | COIL 110VDC | 7S.16.9.110.5420T | FINDER | 1 | K
K
+75-11K1A | RELAY MODULE WITH FORCIBLY GUIDED 4NO+2NC CONTACTS 6 A | COIL 110VDC | 7S.16.9.110.5420T | FINDER | 1 | K
K
+75-11K2 | AUXILIARY RELAY 8A 2NO/NC | COIL 110VDC | 46.52.9.110.000.0T | FINDER | 1 | K
+75-11K2 | TERMINAL SOCKET |  | 97.P2.7.SMA | FINDER | 1 | K
+75-11K2 | GREEN LED MODULE |  | 99.02.0.230.59 | FINDER | 1
+75-11K3 | AUXILIARY RELAY 8A 2NO/NC | COIL 110VDC | 46.52.9.110.000.0T | FINDER | 1 | K
+75-11K3 | TERMINAL SOCKET |  | 97.P2.7.SMA | FINDER | 1 | K
+75-11K3 | GREEN LED MODULE |  | 99.02.0.230.59 | FINDER | 1
+75-11K4 | AUXILIARY RELAY 8A 2NO/NC | COIL 110VDC | 46.52.9.110.000.0T | FINDER | 1 | K
+75-11K4 | TERMINAL SOCKET |  | 97.P2.7.SMA | FINDER | 1 | K
+75-11K4 | GREEN LED MODULE |  | 99.02.0.230.59 | FINDER | 1
+75-11K5 | RELAY MODULE WITH FORCIBLY GUIDED 4NO+2NC CONTACTS 6 A | COIL 110VDC | 7S.16.9.110.5420T | FINDER | 1 | K
K
+75-11K5A | RELAY MODULE WITH FORCIBLY GUIDED 4NO+2NC CONTACTS 6 A | COIL 110VDC | 7S.16.9.110.5420T | FINDER | 1 | K
+75-11K5A | [5 empty] | K
+75-11K6 | RELAY MODULE WITH FORCIBLY GUIDED 4NO+2NC CONTACTS 6 A | COIL 110VDC | 7S.16.9.110.5420T | FINDER | 1 | K
+75-11K6
+75-11K7 | RELAY MODULE WITH FORCIBLY GUIDED 4NO+2NC CONTACTS 6 A | COIL 110VDC | 7S.16.9.110.5420T | FINDER | 1 | K
+75-11K7
+75-11K8 | RELAY MODULE WITH FORCIBLY GUIDED 4NO+2NC CONTACTS 6 A | COIL 110VDC | 7S.16.9.110.5420T | FINDER | 1 | K
+75-11K8 | [5 empty] | K
K
+75-11K9 | TIMER MODULE ON DELAY / DELAY OFF 2 CONTACTS | COIL 24÷240 Vac/Vdc | 83.02.0.240.0000T | FINDER | 1 | K
+75-11K10 | TIMER MODULE ON DELAY / DELAY OFF 2 CONTACTS | COIL 24÷240 Vac/Vdc | 83.02.0.240.0000T | FINDER | 1 | K
+75-12K1 | AUXILIARY RELAY 8A 2NO/NC | COIL 110VDC | 46.52.9.110.000.0T | FINDER | 1 | K
+75-12K1 | TERMINAL SOCKET |  | 97.P2.7.SMA | FINDER | 1 | K
+75-12K1 | GREEN LED MODULE |  | 99.02.0.230.59 | FINDER | 1
+75-12K2 | AUXILIARY RELAY 8A 2NO/NC | COIL 110VDC | 46.52.9.110.000.0T | FINDER | 1 | K
+75-12K2 | TERMINAL SOCKET |  | 97.P2.7.SMA | FINDER | 1 | K
+75-12K2 | GREEN LED MODULE |  | 99.02.0.230.59 | FINDER | 1
+75-12K3 | RELAY MODULE WITH FORCIBLY GUIDED 4NO+2NC CONTACTS 6 A | COIL 110VDC | 7S.16.9.110.5420T | FINDER | 1 | K
+75-12K3 | [5 empty] | K
+75-12K4 | RELAY MODULE WITH FORCIBLY GUIDED 4NO+2NC CONTACTS 6 A | COIL 110VDC | 7S.16.9.110.5420T | FINDER | 1 | K
+75-12K4 | [5 empty] | K
+75-12K5 | RELAY MODULE WITH FORCIBLY GUIDED 4NO+2NC CONTACTS 6 A | COIL 110VDC | 7S.16.9.110.5420T | FINDER | 1 | K
+75-12K5 | [5 empty] | K
+75-12K6 | RELAY MODULE WITH FORCIBLY GUIDED 4NO+2NC CONTACTS 6 A | COIL 110VDC | 7S.16.9.110.5420T | FINDER | 1 | K
+75-12K6 | [5 empty] | K
+75-15K1 | AUXILIARY RELAY 7A 4NO/NC | COIL 110VDC | 55.34.9.110.000.0T | FINDER | 1 | K
+75-15K1 | TERMINAL SOCKET |  | 94.P4.7 SMA | FINDER | 1 | K
+75-15K1 | GREEN LED MODULE |  | 99.02.0.230.59 | FINDER | 1
+75-15K2 | AUXILIARY RELAY 7A 4NO/NC | COIL 110VDC | 55.34.9.110.000.0T | FINDER | 1 | K
+75-15K2 | TERMINAL SOCKET |  | 94.P4.7 SMA | FINDER | 1 | K
+75-15K2 | GREEN LED MODULE |  | 99.02.0.230.59 | FINDER | 1
+75-30K1 | AUXILIARY RELAY 7A 4NO/NC | COIL 110VDC | 55.34.9.110.000.0T | FINDER | 1 | K
+75-30K1 | TERMINAL SOCKET |  | 94.P4.7 SMA | FINDER | 1 | K
+75-30K1 | GREEN LED MODULE |  | 99.02.0.230.59 | FINDER | 1
+75-30K2 | AUXILIARY RELAY 7A 4NO/NC | COIL 110VDC | 55.34.9.110.000.0T | FINDER | 1 | K
+75-30K2 | TERMINAL SOCKET |  | 94.P4.7 SMA | FINDER | 1 | K
+75-30K2 | GREEN LED MODULE |  | 99.02.0.230.59 | FINDER | 1
-X75
| ZAP/TW ZDK1.5 |  | 1791160000 | WEIDMULLER | 1 | X
| ZDK 1.5 |  | 1791100000 | WEIDMULLER | 100 | X
| ZEW 35/2 |  | 8630740000 | WEIDMULLER | 2 | X
| ZQV 1.5/2 |  | 1776120000 | WEIDMULLER | 1 CPZ | X

## EC4-P1 CONNECTORS
SEF | DESIGNATION | TYPE | ORDER CODE | MANUFACTURER | Q.TY
-J75 | HAN SNAP SHELL HOUSING SIZE 24B | STANDARD FEMALE | 09 33 024 0401 | HARTING | 1
-J75 | HAN 108 DD-BU-C FEMALE | STANDARD FEMALE | 09 16 108 3101 | HARTING | 1
-J75 | HAN D F CRIMP CONTACT AG 1,5 AWG 16 | STANDARD FEMALE | 09 15 000 6201 | HARTING | 90
-J75 | HAN D F CRIMP CONTACT AG 2,5 AWG 14 | STANDARD FEMALE | 09 15 000 6206 | HARTING | 18
-J75 | HAN-SNAP CARRIER, STANDARD, PIVOTING | STANDARD MALE | 09 33 000 9980 | HARTING | 1
-J75 | HAN 108 DD-STI-C MALE | STANDARD MALE | 09 16 108 3001 | HARTING | 1
-J75 | HAN D M CRIMP CONTACT AG 1,5 AWG 16 | STANDARD MALE | 09 15 000 6101 | HARTING | 90
-J75 | HAN D M CRIMP CONTACT AG 2,5 AWG 14 | STANDARD MALE | 09 15 000 6106 | HARTING | 18